## Slide 1: Solar Electricity
Photovoltaic

## Slide 2: Abstract:
The main purpose of the project shall be improving the power conversion efficiency and fielded energy output, service lifetime, manufacturability of commercial and emerging PV technologies.

## Slide 3
Sunlight falling on the solar panel contains more than 50% of infrared rays which are converted into heat raising substantially nominal operating cell temperature (NOCT) of the PV module. The higher NOCT shall cause power degradation affecting adversely the power conversion efficiency, field energy output, reliability and service life.

## Slide 4
At Zenith Irradiance W/m2: Infrared radiation-527 w/m2. Visible light-445 W/m2, ultraviolet radiation- 32 w/m2.

## Slide 5: The STC for the commercial module is as follows
Irradiance on cell surface = 1000 W/square meter
2.cell Temperature = 25°C
3. Wind Velocity = 1 m/s
In the real world
Irradiance on cell surface = 800 W/square meter 2.
Wind velocity= 1 m/s 3.
Air temperature =20°C 4. Nominal Operating Cell Temperature (NOCT) =48°C
The standard PV module has given 20% less power output at 20°C ambient temperature at 48°C NOCT.

## Slide 6: Solar spectrum
At Zenith Irradiance W/m2: Infrared radiation-527 w/m2. Visible light-445 W/m2, ultraviolet radiation- 32 w/m2. As indicated above there 527 W/M2 Infrared radiance and 32 w/M2 ultraviolet radiation received by PV module shall be converted into heat and only 445 W/M2 visible light shall be converted into electricity during its normal operation.

## Slide 7
Since standard module elevated temperature adversely affects its power output, therefore, needs an inbuilt cooling system to dissipate heat to regulate its temperature.

## Slide 8: efficiency of solar cells
Currently, the efficiency of solar cells is as low as around 20 percent
Efficiency can be greatly enhanced with the use of luminescent protective glass that has the higher light conversion.
It can manage to increase the efficiency of ultraviolet conversion in the glass up to 30 percent and glass can withstand high temperatures and adverse weather conditions.

## Slide 9
The PV Module shall be filled with CO2 Gas between support board and encapsulating covering of luminescent glass and shall be sealed, so that there shall be no gas leakage.

## Slide 10
Module shall be laminated with a perforated laminate sheet instead of Plain.
Perforations in lamination sheet shall improve thermal conductivity of the module assembly and shall allow the flow of heat transfer out the solar panel. The perforation in lamination sheet shall allow CO2 gas to be in touch with solar cells to save them from degradation from hot spots which can occur any time being beyond human control.
The module shall give maintenance service throughout its life.

## Slide 11
Not only the gas has a good dielectric strength, the gas has also very good heat transfer property. Due to its low gaseous viscosity (because of less molecular mobility) CO2 gas can efficiently transfer heat by convection. So due to its high dielectric strength and high cooling effect and excellent electric arc quenching property, it shall improve module efficiency, reliability and power output.

## Slide 12
The adequate cooling of the module shall lower the nominal operating cell temperature, i.e. (NOCT), thereby improving its power conversion efficiency.

## Slide 13
CO2 gas is heavier than air, high gas density compared to air shall not allow ingress of moisture inside the module. In view of this, module components and solar cells shall be well protected from damage through corrosion or oxidation.
Although CO2 gas is identified as a greenhouse gas with zero GWP yet safety regulation shall have to be introduced in order to prevent its release into the atmosphere.

## Slide 14: PERFORMANCE TESTING BASED ON DEGRADATION STUDIES:
PV junction boxes embedding with electronics shall enable performing maximum performance tracking for each module individually and measurement of performance data for monitoring and fault detection at the module level.