## Slide 1
SOLARSPOT CONCEPT ADDS A PASSIVE
HEAT EXCHANGE FLOW PATH
FLUIDIC DIODE
from tank
to tank
SOLARSPOT COLLECTOR STAYS COOL
PUMP ON
PUMP OFF
COOLING HEAT EXCHANGE FLOW PATH IS ON THE BACK SIDE OF THE COLLECTOR
NO FLOW THROUGH BACK SIDE DURING NORMAL FORCED CIRCULATION
FLOW THROUGH BACK SIDE DURING NATURAL CIRCULATION