Technical assistance request

- Determining Balance of System cost reduction with direct connected central inverter

  - What components can be eliminated when the inverter is connected at 15-35kV?

- Value of magnetizing loss elimination across different locations and transformer types

- Evaluating anti-islanding powerline communication zero notch for $250k transfer trip elimination

  - Could this effect any other equipment?

  - How fast should it disconnect?

- Cost and safety implications of increasing solar string voltage to 3kVdc

  - Safe shutdown and grounding standard updates

- Third party harmonic and voltage ride through standards verification

  - How much better can the harmonic requirements be if every inverter is a high frequency modular multi-level system?

  - What harmonic limits are needed in very high penetration scenarios?

- >15kV high power (multi-megawatt) testing

  - BIL, thermal, and reliability HAST/HALT testing

- Finding pilot projects or locations with >1MW solar and any size DC battery

- Sourcing battery for 500-1500Vdc input range

- Evaluating reduced mechanical and electrical stress when using STATCOM/fast reactive power functionality of inverter

- Evaluating new magnetic and ceramic materials