# Net Zero Energy Model for WWTPs

The primary objective of this proposal is to achieve net-zero-energy (NZE) wastewater treatment plants (WWTPs) by utilizing, energy efficiency opportunities (EEO’s), combined heat and power (CHP) systems and other renewable energy sources, e.g., solar, water, and wind powers. This study discusses an innovative energy solution for WWTPs in the United States, and one of the WWTPs in the state of Wisconsin with a flow capacity of 1.5 million gallons per day (MGD) was selected as a case study. An optimization tool; Hybrid Optimization of Multiple Energy Resources (HOMER) software is used in this study. The Industrial Assessment Center (IAC) at the University of Wisconsin-Milwaukee (UWM) conducted an energy audit for the City of Waupaca WWTP in the first quarter of 2020. The proposed EEO’s were able to reduce WWTP energy consumption by about 11%. The excess anaerobic digester gas was utilized in a CHP system to cover about 42% of the facility’s energy consumption. Also, 3% of the utility energy consumption can be claimed by microturbines in the aeration tanks. Another two renewable energy systems, solar photovoltaic (PV) with 29% and water turbines with 15%, contribute to cover 100% of the WWTP energy consumption and thus, achieving the Net-Zero-Energy (NZE) WWTP.

Team Members:

| Prof. Ryo Amano (Captain) | amano@uwm.edu | https://uwm.edu/engineering/people/amano-ph-d-ryoichi/ |
| --- | --- | --- |
| Abdel Rahman Salem | assalem@uwm.edu | https://www.linkedin.com/in/abdel-rahman-salem-450b4b12a/ |
| Ahmad Ibrahim Abbas | aiabbas@uwm.edu | https://www.linkedin.com/in/ahabbas/ |
| Ahmad Abdel Hadi | aiajr@uwm.edu | https://sites.uwm.edu/ceas-iac/ahmad-abdelhadi/ |
| Alaa Hasan | mahmoud9@uwm.edu | https://www.linkedin.com/in/alaa-hasan-220b12109/ |
| Farah Nazifa | fnourin@uwm.edu | https://www.linkedin.com/in/farah-nazifa-nourin-a6b318104/ |
| Jesse Landre | jlandre@cityofwaupaca.org | https://www.cityofwaupaca.org/publicworks/wastewater-utility/ |
| Juan Espindola | espindoj@uwm.edu | https://www.linkedin.com/in/juan-ca%EF%BF%BD-054407125/ |
| Mohamed Abousabae | abousab2@uwm.edu | https://www.linkedin.com/in/mohamed-abdel-azim-msc-8aa92176/ |
| Mohammad Qandil | mdqandil@uwm.edu | https://www.linkedin.com/in/mohammad-qandil/ |
| Osama Elsayed | oelsayed@uwm.edu | https://www.linkedin.com/in/osamaselim/ |