## INSTRUCTIONS
Legend
Green-filled cells are for MANDATORY user-input
Yellow-filled cells are for OPTIONAL user-input
Instructions: | Fill out information in the three sections of the System Metadata tab. In some cases, you may find that you have multiple values for a field, such as multiple azimuths, module types, mounting types, azimuths, etc. In those fields use a semicolon ";" as the separator between each value in the field. If you have several fields that are related, such as module_type, module_sub_technology, and mounting_type, make sure the association between each of these lists matches. The first item in the list for module_type (module_type 1) must match the first item in the list for module_sub_technology (module_sub_technology 1), and the first item in the list for mounting_type (mounting_type 1).
Section A | System information. This includes qualitative and quantitative information about your system, including where it is located, tracker and technology type, and more. Input information here and use the drop down menus when provided. This information may be used by NREL experts to model predicted energy generation from your system, in order to compare predicted to actual generation and to gain insight into potential sources of reduced performance (if applicable), and to improve existing agrivoltaics modeling capabilities. The results of the modeling can be shared with you if desired.
Section B | Mandatory Data: Information about the mandatory data you will submit: which type of irradiance and temperature data you are submitting, the number of channels for each type of data, the time resolution of each measurement, and (if applicable) the heading used in the system data upload file.*
Section C | Additional data: Information about the additional (optional) data you will submit: the types of data, the number of channels for each type of data, and the time resolution of each measurement, and (if applicable) the heading used in the system data upload file.* This additional data would be submissions for the LASSO Data Bounty Bonus Prize.
*Note on headings (Sections B and C): If you are submitting your data as a CSV (as opposed to providing login credentials to allow NREL to download the data directly), please provide datapoint headings in Sections B and C. Each datapoint heading needs to be unique, and it needs to match the corresponding columns in the data upload file (separate spreadsheet). Each heading should identify the piece of hardware in some way (“inv”, “refcell”, “weather_station”, etc.). The heading should also include the type of data that is being generated on that channel (e.g. power, energy, wind_speed, ambent_temperature). In the case of electrical data, prefix the data type with either “dc_” or “ac_”. Additionally, if there is some other important information about the channel, place that in the header name (e.g. “_cumulative”). Lastly, each heading can include the units of the data, formatted as a space after the header name with the units in parentheses. If the data is unitless you can use a “(-)” to designate this. Again, the most important point is that the heading should match the corresponding columns in the data upload file (separate spreadsheet). See examples below. If you are submitting multiple channels for that data point, provide the "base" heading (i.e., the part of the heading that will be common for each channel, using a placeholder for the number/location that specificies the channel that will be included in the system data upload file. For example, if you are submitting data from multiple inverters, each attached to a different section of modules in the PV array, the heading included in this file might be "inv_SECTION#_ac_power (kW)" (and the "#" would be replaced by the actual section number in the data upload file), or the heading in this file for a back of module temperature sensor might be "thermocouple_#_module_temp (C)" (with "#" replaced by the sensor number in the data upload file). Examples: inv_#_dc_power (kW) inv_SECTION#_ac_energy (kWh) meter_#_ac_energy_cumulative (kWh) thermocouple_#_module_temp (C) ref_cell_POA (W/m^2) weather_station_#_wind_speed (m/s)

## System Metadata
| Section A: System Information | Section B: Mandatory Data Information |  |  |  |  | Section C: Additional (Optional) Data Information
site_public_name | System nickname/name to be used (publicly) on PVDAQ | Type of data |  | # of channels | Time Res. (1-15 minutes) | Heading matched to system data file (if uploading data) - see note in Instructions | Type of data |  | # of channels | Time Res. (1-15 minutes) | Heading matched to system data file (if uploading data) - see note in Instructions
state | U.S. state (abbreviation) | Energy Production | Revenue-grade meter output (kW-ac) |  |  |  | Irradiance | GHI (Class A)
latitude | System latitude (decimal degrees, 4 decimal places) |  | Inverter output (kW-ac) |  |  |  |  | GHI (Class B)
longitude | System longitude (decimal degrees, 4 decimal places) | Irradiance (GHI or POA, select type in cell to the right) | [5 empty] | DNI (Class A)
timezone | Site time zone or UTC offset | Temperature (back of module or ambient, select in cell to the right) | [5 empty] | POA (Class A)
start_date | Commercial operation date (mm/dd/yyyy) | Wind (if suplying ambient temperature) | Wind speed (m/s) |  |  |  |  | POA (unclassified)
dc_capacity | Total rated generation capacity of all PV modules in the system (kW-dc) |  | Wind direction |  |  |  | Battery data | Battery voltage in
ac_capacity | Total rated inverter capacity of all inverters in the system (kW-ac) | [6 empty] | Battery voltage out
module_count | Number of modules in the array | [6 empty] | Battery current in
module_type | PV cell chemistry (e.g., monocrystalline silicon, polycrystalline silicon, cadmium telluride) | [6 empty] | Battery current out
module_sub_technology | PV module technology (e.g., TOPCon, PERC, HJT, XBC) | [6 empty] | Battery temperature
module_rated_power | Module rated power (Pmp) (W-dc) | [6 empty] | Battery state of charge
cell_count | Number of cells in each module | [6 empty] | Battery state of health
cells_structure | Are the cells full cells or half-cut cells? (Non-thin film modules) | [6 empty] | Energy Inflow (kWh)
module_is_bifacial | Are the PV modules bifacial? (yes or no) | [6 empty] | Energy Outflow (kWh)
module_bifaciality | Module bifaciality value from module datasheet (if bifacial) | [5 empty] | Conditions | Wind speed (if not provided for mandatory data)
module_length | Module length (meters) | [6 empty] | Wind direction (if not provided for mandatory data)
module_width | Module width (meters) | [6 empty] | Tracker inclinometer
inverter_rated_power | Nominal rated power of a single inverter (kW-ac) | [5 empty] | Inverter Data | Inverter DC Input (Amps)
num_inverters | Total number of inverters for the array | [6 empty] | Inverter DC Input (Volts)
num_strings | Total number of PV source strings in the array | [6 empty] | Inverter AC output (Amps)
modules_per_strng | Number of modules on each source string | [6 empty] | Inverter AC output (Volts)
strings_per_inverter | Number of PV source strings per inverter | [6 empty] | Inverter AC output (Power Factor)
mounting_type | Mounting type (standard ground mount, raised ground mount, novel mounting system, etc.) – list all that apply | [6 empty] | Inverter accumulated energy (kWh)
module_orientation | Mounting configuration (e.g., 2-in-portrait, 4-in-landscape, etc.) | [6 empty] | Inverter Temperature
tracking_type | Tracking type or fixed tilt | [5 empty] | Combiner Data | Combiner DC input (Amps)
backtracking | (For single-axis tracking systems) does the system have backtracking? (yes or no) | [6 empty] | Combiner DC output (Amps)
tilt | Tilt angle(s) (for fixed tilt systems) in decimal degrees | [6 empty] | Combiner DC output (Volts)
terrain_slope | North-South slope (for single-axis tracking systems) in decimal degrees | [5 empty] | Revenue-grade meter | Revenue-grade meter AC output (Amps)
rotation_limit | For single-axis tracking systems: rotation limit angle in decimal degrees | [6 empty] | Revenue-grade meter AC output (Volts)
azimuth | Azimuth(s) in decimal degrees. For fixed-tilt systems, the direction the array faces (0=North, 90=East, 180=South, 270=West). For single-axis tracking systems, the orientation of the rotation axis (azimuth=180 is a north-south rotation axis that rotates from east to west) | [6 empty] | Revenue-grade meter AC output (Hz)
pitch | Pitch (row edge to row edge, meters) | [6 empty] | Revenue-grade meter AC output (Power Factor)
ground_clearance_height | Height from the ground to the bottom of the PV array (meters). For systems with no tracking, it is the distance between the ground and the bottom edge of modules (closest to the ground). For systems with tracking, it is the distance between the ground and back of modules when they are horizontal. | [6 empty] | Revenue-grade meter accumulated energy (kWh)
temp_location | Temperature sensor locations (back of module, other (please specify)) | [5 empty] | Transformer Data | Transformer low-side current
anemometer_location | Anemometer locations (required if only measuring ambient temperature) | [6 empty] | Transformer high-side current
contact | Person responsible for answering any questions about the data and metadata | [6 empty] | Transformer low-side voltage
contact_details | Email address for the contact listed above | [6 empty] | Transformer high-side voltage
module_manufacturer | Module manufacturer | [6 empty] | Transformer power factor
module_model | Module model
inverter_manufacturer | Inverter manufacturer
inverter_model | Inverter model
Temperature sensor make and model
Anemometer make and model
Hardware make and model (if additional (optional) data is submitted, e.g., battery, combiner, transformer) - SPECIFY WHICH, ADD ADDITIONAL ROWS BELOW IF APPROPRIATE
Hardware specification (if additional (optional) data is submitted, e.g., battery power capacity, battery energy capacity, transformer capacity) - SPECIFY, ADD ADDITIONAL ROWS BELOW IF APPROPRIATE

## DO NOT EDIT - REFERENCE OPTIONS
State/Territory | Abbreviation | Cell chemistry | Module technology | Yes/No | Irradiance types | Temperature types | Tracking types | Full or half-cut
Alabama | AL | Mono-Si | TOPCon | Yes | GHI (Class A) | Back of module | Fixed tilt | Full
Alaska | AK | Poly-Si | Heterojunction | No | GHI (Class B) | Ambient | Single-axis tracking | Half-cut
American Samoa | AS | CdTe | CdTe |  | POA (Class A) |  | Dual-axis tracking
Arizona | AZ | CIGS | PERC |  | POA (unclassified)
Arkansas | AR | Other | CIGS
California | CA |  | Al-BSF
Colorado | CO |  | Other
Connecticut | CT |  | IBC
Delaware | DE
District of Columbia | DC
Florida | FL
Georgia | GA
Guam | GU
Hawaii | HI
Idaho | ID
Illinois | IL
Indiana | IN
Iowa | IA
Kansas | KS
Kentucky | KY
Louisiana | LA
Maine | ME
Maryland | MD
Massachusetts | MA
Michigan | MI
Minnesota | MN
Mississippi | MS
Missouri | MO
Montana | MT
Nebraska | NE
Nevada | NV
New Hampshire | NH
New Jersey | NJ
New Mexico | NM
New York | NY
North Carolina | NC
North Dakota | ND
Northern Mariana Islands | MP
Ohio | OH
Oklahoma | OK
Oregon | OR
Pennsylvania | PA
Puerto Rico | PR
Rhode Island | RI
South Carolina | SC
South Dakota | SD
Tennessee | TN
Texas | TX
US Virgin Islands | VI
Utah | UT
Vermont | VT
Virginia | VA
Washington | WA
West Virginia | WV
Wisconsin | WI
Wyoming | WY