## Instructions
Information about the Template and Submitting Data This Excel spreadsheet provides a template teams may use to submit time series data for LASSO Prize Standard Track Phase 3 and Operating Projects Track Phase 2. The data should be submitted as a CSV (which can be generated from an Excel file), or we can access data through an API with the requisite credentials, and we will format it. It is important to note that we will need to be able to extract the same information from the API pull, for each data channel, as described in this document and the LASSO Prize rules. Please verify that is possible before requesting we do an API extraction. If you wish to submit the data as a CSV it needs to follow the guidelines set forth in these instructions and should match the initial template in the Data Format tab. As an example, there is a Data Format Example Tab that shows real data assembled into the proper format. The provided data will be imported into a large-scale time-series database (PVDAQ), with certain details anonymized by default (with the option to de-anonymize). Supplying the data in this specified format will allow us to quickly import and evaluate the data for completeness and accuracy. | Headers The top of the CSV(s) needs to include the iso_timestamp (for column 1) and information on the hardware, channel, and units for each of the other columns. Each column header needs to be unique, and it needs to match a corresponding entry in the system metadata file (separate spreadsheet). Each column should have a header name that identifies the piece of hardware in some way (“inv”, “refcell”, “weather_station”, etc.) which should be identified in your metadata spreadsheet. In the cases where there are multiple pieces of hardware of the same type, tag that hardware with an id number of some sort (“inv_01_”, “inv_BLOCK01A_”, etc.). If the name includes a reference to the physical location on site (e.g. BLOCK01A), that is even better. The header can also include the type of data that is being generated on that channel (e.g. power, energy, wind_speed, ambent_temperature). In the case of electrical data, prefix the data type with either “dc_” or “ac_”. Additionally, if there is some other important information about the channel place that in the header name (e.g. “_cumulative”). Lastly, as a best practice, each header (except the iso timestamp) can include the units of the data. The format should be a space after the header name and enclose the units in parentheses. If the data in a column is unitless you can use a “(-)” to designate this. Again, the most important point is that the header string used must match the corresponding entry in the system metadata file (separate spreadsheet). See examples below. Examples: inv_03_dc_power (kW) inv_SECTION14C_ac_energy (kWh) meter_02B_ac_energy_cumulative (kWh) thermocouple_08_module_temp (C) ref_cell_POA (W/m^2) weather_station_01_wind_speed (m/s) Warning Please be sure none of the header names or any of the data fields have commas in them. Commas are OK as the separator between the columns/fields and is expected. If you have extraneous commas in the actual header names or data, it will cause faults when importing the data. | Additional Channel Information It is important to indicate certain information about the channel and hardware in the metadata file (separate spreadsheet). This includes what hardware is producing the data and the type of data (e.g. averaged, sampled, etc.). Timestamp The timestamp should be provided as an ISO 8601 formatted string. Preferably the separator (between date and time) should be a space instead of the default “T”, however we can work with the default separator if necessary. You can include a time zone aware iso timestamp too. As part of the system metadata data, we should already have your site timezone or UTC offset, but it is fine to have your data timestamp include the time zone offset. In the case of DST-affected data logging, this is preferred. Examples: “2023-01-01 12:34:56” “2023-01-01 12:34:56-08:00” (time zone aware) Time resolution The temporal resolution should be between 1-15 minutes (e.g., 10, 5, 2, etc.) | Optional data This template can be used to submit data for the LASSO Data Bounty Bonus Prize if the time-series format is appropriate for that data. Suggested data points of interest are listed below, but this list is neither exhaustive nor exclusive. • Soiling Data (from a soiling station) • Irradiance Data (GHI, POA, or DNI) • Battery Data (e.g., current in and out, energy in and out, temperature, state of charge) • Conditions Data (e.g., wind speed and direction, tracker inclinometer) • Inverter Data (e.g., amps and volts in and out, temperature) • Combiner Data (e.g., amps input and output, volts output) • Meter Data (e.g., amps, volts, Hz output) • Transformer Data (e.g., high and low side current and voltage) | Submitting the Data The data needs to be converted to a comma separated values (*.csv) file. Your data may already be in that format, but if you are using Excel or this template, you will need to convert the spreadsheet to a CSV. This is easily done directly. In Excel to convert to CSV: File -> Save As -> (from pull down menu) CSV (Comma delimited) (*csv)

## Data submission
iso_timestamp | sensor_channel_1 (Units 1) | sensor_channel_2 (Units 2) | sensor_channel_3 (Units 3) | sensor_channel_4 (Units 4) | sensor_channel_5 (Units 5) | sensor_channel_n (Units n)

## EXAMPLE data submission
iso_timestamp | refcell_01_poa (W/m^2) | refcell_02_poa (W/m^2) | ambient_temperature (F) | module_01_temperature (F) | inv_01_dc_power (kW) | inv_01_ac_energy_cumulative (kWh) | inv_02_dc_power (kW) | inv_02_ac_energy_cumulative (kW) | inv_03_dc_power (kW) | inv_03_ac_energy_cumulative (kW) | wind_direction (degree) | wind_speed (m/s) | tracker_angle (degree)
2018-04-05 11:30 | 731.9399 | 731.9399 | 83.4887 | 117.2164 | 713.6234 | 10101024 | 665.9155 | 9963832 | 719.5289 | 11410735 | 267.8786 | 2.0125 | 3
2018-04-05 11:45 | 751.4783 | 751.4783 | 83.9734 | 119.0828 | 777.0133 | 10101200 | 749.1189 | 9964006 | 783.9155 | 11410909 | 285.0228 | 1.5624 | 1
2018-04-05 12:00 | 559.3959 | 559.3959 | 85.3056 | 121.4587 | 596.5961 | 10101337 | 590.97 | 9964178 | 594.1284 | 11411042 | 297.4648 | 1.4552 | 0
2018-04-05 12:15 | 621.9337 | 621.9337 | 86.9477 | 126.2927 | 679.8028 | 10101522 | 654.3267 | 9964326 | 672.6278 | 11411223 | 283.9737 | 1.5895 | 0
2018-04-05 12:30 | 597.9624 | 597.9624 | 89.003 | 128.0751 | 645.2622 | 10101669 | 635.9334 | 9964472 | 642.4578 | 11411367 | 285.2746 | 1.6105 | 2
2018-04-05 12:45 | 589.9269 | 589.9269 | 90.6491 | 131.4313 | 626.2461 | 10101808 | 613.8289 | 9964646 | 626.39 | 11411504 | 290.2277 | 2.4765 | 3
2018-04-05 13:00 | 713.0008 | 713.0008 | 95.4511 | 133.5862 | 747.0467 | 10102014 | 733.2955 | 9964811 | 739.3 | 11411667 | 296.3473 | 2.4051 | 5
2018-04-05 13:15 | 556.5961 | 556.5961 | 96.8533 | 134.4871 | 583.22 | 10102145 | 582.9355 | 9964943 | 599.4883 | 11411842 | 306.7188 | 1.3664 | 6
2018-04-05 13:30 | 452.6176 | 452.6176 | 98.8725 | 137.2433 | 486.3495 | 10102255 | 480.8583 | 9965079 | 496.7817 | 11411950 | 322.4659 | 0.70855 | 8
2018-04-05 13:45 | 405.8247 | 405.8247 | 97.2584 | 134.4509 | 449.3322 | 10102365 | 441.1444 | 9965178 | 454.4111 | 11412049 | 335.7169 | 0.14133 | 9
2018-04-05 14:00 | 376.312 | 376.312 | 97.5562 | 135.0963 | 419.4617 | 10102483 | 409.1883 | 9965272 | 424.275 | 11412164 | 331.7609 | 0.51151 | 11
2018-04-05 14:15 | 320.5954 | 320.5954 | 97.0443 | 128.7085 | 351.82 | 10102561 | 343.8094 | 9965369 | 356.8233 | 11412241 | 94.4095 | 1.1063 | 13
2018-04-05 14:30 | 329.7506 | 329.7506 | 97.5552 | 130.4902 | 362.7944 | 10102643 | 356.1517 | 9965450 | 369.0806 | 11412320 | 25.1417 | 0.72873 | 15
2018-04-05 14:45 | 517.562 | 517.562 | 94.8474 | 124.4648 | 564.8517 | 10102767 | 561.3283 | 9965582 | 564.2556 | 11412470 | 240.6937 | 1.5986 | 17
2018-04-05 15:00 | 423.5744 | 423.5744 | 92.9155 | 115.9118 | 474.2522 | 10102899 | 456.8811 | 9965687 | 469.8628 | 11412571 | 110.83 | 1.5131 | 20
2018-04-05 15:15 | 333.5414 | 333.5414 | 95.5327 | 119.5452 | 377.7245 | 10102983 | 367.1717 | 9965791 | 382.4478 | 11412655 | 138.4816 | 2.7862 | 22
2018-04-05 15:30 | 284.0541 | 284.0541 | 96.4475 | 120.8195 | 333.4589 | 10103059 | 327.4217 | 9965865 | 339.5406 | 11412729 | 164.1781 | 3.6362 | 23
2018-04-05 15:45 | 307.8904 | 307.8904 | 95.4665 | 115.6953 | 341.8828 | 10103155 | 340.2172 | 9965959 | 346.9095 | 11412823 | 90.1569 | 1.9875 | 25
2018-04-05 16:00 | 291.0717 | 291.0717 | 95.1345 | 112.5218 | 316.3417 | 10103227 | 311.7589 | 9966030 | 321.1917 | 11412893 | 71.1378 | 4.2548 | 26
2018-04-05 16:15 | 354.4923 | 354.4923 | 95.7788 | 111.208 | 401.91 | 10103319 | 396.8411 | 9966121 | 398.5728 | 11412984 | 79.1718 | 1.6691 | 28
2018-04-05 16:30 | 266.472 | 266.472 | 94.636 | 105.5169 | 286.8772 | 10103398 | 277.2011 | 9966198 | 295.4872 | 11413063 | 103.1624 | 3.4194 | 30
2018-04-05 16:45 | 176.3154 | 176.3154 | 94.1508 | 101.3424 | 204.35 | 10103444 | 198.5817 | 9966243 | 210.7683 | 11413108 | 118.6824 | 2.3324 | 32
2018-04-05 17:00 | 130.4179 | 130.4179 | 93.9902 | 101.2164 | 150.3094 | 10103478 | 146.6372 | 9966276 | 156.5928 | 11413142 | 63.9084 | 0.56793 | 33
2018-04-05 17:15 | 94.0521 | 94.0521 | 94.295 | 98.958 | 106.9183 | 10103508 | 102.4794 | 9966306 | 112.5683 | 11413171 | 129.9558 | 1.5509 | 35
2018-04-05 17:30 | 97.5794 | 97.5794 | 93.1795 | 93.7007 | 91.7739 | 10103528 | 87.0944 | 9966325 | 97.2244 | 11413191 | 170.3245 | 1.6007 | 37